## Sheet1
fire alarm
addressable smoke detector | 113
dressable smoke detectore above false ceiling | 113
addressable manual fire alarm | 20
fire fighter tele | 19
door holder | 4
addressable heat detector | 1
fire alarm siren | 11
strobe light | 11
FACP-F | 1
CCTV
outdoor camere | 9
RG CAMERA indoor | 28
ID CAMERA indoor | 22
public and leak systems
ceiling mounted loudspeaker covers an area 6 m | 64
leakage detection panel-1 | 2
modular leader cable-1 | 7
wall mounted loudspeaker cover an 8 m | 2
T-SMR | 1
DATA AND TELE
data and tele | 24
RJ 45 data outlet ceiling mounted type for wirlss access point wifi | 11
ACCESS CONTROL
MASTER CONTROLLER | 1
DOOR SUB CONTROLLER | 2
ACCESS CONTROL SWIPE CARD READER | 2
REX DOOR RELEASE UNIT | 2
MAGNETIC DOOR LOCKS | 2
DOOR CONTACTS | 2
NURSE CALL
ROOM-CORRIDOR LAMP | 2
ROOM CONTROLLER | 2
STAFF RESET BUTTON | 2
PATIENT STATION HEAD BED UNIT | 2
EMERGENCY CALL STATION | 2
PULL BUTTON | 2
PULL CORD FOR PATH | 2
MAIN BURSE CALL PANAL | 1
NURSE CALL PANAL | 2
STAFF STATION | 2